## Slide 1
1. Membrane Calibration
Sealed tank with controlled CO2 concentration
From Eq. (19-21): Fit decay curves → γi = Si ki /Vm → Determine ka and kc
2. Steady-State Experiment
Deploy eosFDs until ∂Cs/∂t = ∂Cr/∂t = ∂Cc/∂t = 0 and Cr = Ca
Use Eq. (14) to compute steady-state Cc
Use Eq. (15) to determine kw
3. Operational Measurements
Dynamic, non-steady state lab or field conditions
Record time-series Cs, Cr, Cw
4. Sample–Reference Chamber Mass Balance
Use Eq. (4) to compute bottom membrane flux, fc
5. Fick’s Law Across Bottom Membrane
Use Eq. (7) to derive collar concentration, Cc
6. True Flux Computation
Assume Ca = Cr and kw = kw✝ and use Eq. (16) to compute true flux, fw✝